## Slide 1: NSS – Nebulas Stated Storage
Combining NVME, SSD, 100Gig and Above NIC and ARM, plus the software to make it all work

## Slide 2: Problems
We need more storage, at lower cost, at higher speed, at low power, and low overhead.
First it’s a hardware problem:
  Drives are small
  Apps are closer to edge
Second it’s a “connection” problem:
  Traditional solutions are hard-wired to a single node
  We want the speed of local ssd’s but outside the server box
    Pods need to move
Third, we need speed
  To match the ssd we need high speed, high thruput, and low latency

## Slide 3: Connection – 100 Gig Ethernet
100 Gig switches price has fallen
  100 Gig – 16 Port = $2000 - $125 a port
  Mikrotik CRS520-4XS-16XQ-RM
100 Gig Nics pricing has fallen
NVME Over TCP has become widely supported, allowing for use over 100Gig networks

## Slide 4: Storage Appliance
Where to put the drives?
New generation of storage appliances
  100 Gig Network native
  NVME over TCP Built IN
  20 u.2 Drive slots for ssd’s
    Can use 20 m.2 drives with adapter
  Support for nvme over tcp
  Support for RAID
  Support for virtual drive export/thin provisioning
  NFS Support
  iSCSI support
  Lower Power ARM

## Slide 5: Why NVME Over TCP
NVME Over TCP – extends ssd drive level protocol to the network
Lower overhead than iSCSI
Possible to go directly to drive as network
Can be acerated/off-loaded for best thru-put
Supported by RHEL
Reference:
https://www.linkedin.com/pulse/nvmetcp-simplified-rajesh-dangi-1nvzc/

## Slide 6: Next Generation OCP Storage
Storage Provisioner
  Provisions disk on RDS with thin/thick
  Allows movement pods from node to node
  Support for:
    Nvme Over TCP
    iSCSI
    NFS
Storage Manager – Containerized app on appliance
  Provides REST api and gui for storage management
Additional Features:
  Capacity Management across multiple appliances
  Appliance Evac – Will require client container shutdown/restart
  RAID support – Allow a host raid on ocp node to connect to 2 virtual volumes on possibly 2 different hosts, in different racks

## Slide 7: Further Enhancement for telco
Registry for openshift install – As a container on the storage appliance (With optional redundancy of a second copy on a second node)
  Tip to Ondrej Famera for already getting registry working on ARM/Pi
Offload of audit logs
Offload of stats
Minio Support – For backup of cluster

## Slide 8: Where is the source:
https://github.com/glennswest/nvmetarget

## Slide 9: Where / Why
RDS/NVME Over TCP – is idea for edge type deployment
Support for PV’s for apps

## Slide 10: Components
Consists of:
  Nvmetarget – Used for emulating mikrotik on linux host
    Coded - Currently working for volume allocation
  Storeman – A container that provides a gui for setup, and handles volume creation, and distribution of volumes – runs on storage node
    Development started, WIP to integrate library, and table definition and gui for both standard and advanced features
      Focus on nvme first
  Mikrotik_csi – A ocp component, that handles pv requests
    Development started, tested capture of pv requests, and working to that point, blocked on storeman work

## Slide 11: The Lab Setup
Current Lab:
  Running on components virtual for software development.
  A emulated ROSE appliance
  Test RHEL Box to access emulated environment
Planned Lab:
  Mikrotik ROSE Appliance with 20x1TB ssds (Using m.2 to u.2 adapter)
  Mikrotik CRS520-4XS-16XQ-RM 16 Port 100 Gig Switch
  100 Gig Nic in development server